## Sheet0
Name | Probability | Failure description
PMSYSTEM: injected <omission> failure at sys_power_in port; | 0.00000009 | Problem with the system's power source
MONITOR: FLA:(*)->monitor_out.omission; | 0.00000001 | Monitor fails internally or badly connected
SERVER: FLA:(*)->server_out.omission; | 0.00000002 | Server down
TRANSCIEVER: FLA:(*)->trans_out.omission; | 0.00000003 | Gateway malfunction due to unknown issues
ALARM: FLA:(*)->alarm_out.commission; | 0.00000004 | Alarm system start to fail increasingly due to age
ALARM: FLA:(*)->alarm_out.omission; | 0.00000005 | Alarm system fails completery or broken
PRESSSENSOR: FLA:(*)->psens_out.omission; | 0.00000006 | Pressure sensor fails completely or broken
PRESSSENSOR: FLA:(*)->psens_out.valueCoarse; | 0.00000007 | Pressure sensor starts to fails by age and provide wrong readings
SPO2SENSOR: FLA:(*)->spo2sens_out.omission; | 0.00000008 | SPO2Sensor fails completely or broken
SPO2SENSOR: FLA:(*)->spo2sens_out.valueCoarse; | 0.000000011 | SPO2Sensor starts failing due to age and provides worng readings
CONTROLLER: FLA:(*)->cont_tran_out.omission; | 0.000000012 | Controller fails completely internally due to unknown issues
CONTROLLER: FLA:(*)->cont_alarm_out.omission; | 0.000000013 | Controller fails completely internally due to unknown issues
TEMPSENSOR_1: FLA:(*)->tempsens_out.omission; | 0.000000014 | Temperature sensor fails completely or broken
TEMPSENSOR_1: FLA:(*)->tempsens_out.valueCoarse; | 0.000000015 | Temperature sensor starts failing due to age and provides worng readings
EEGSENSOR: FLA:(*)->eegsens_out.omission; | 0.000000016 | EEG sensor fails completely or broken
EEGSENSOR: FLA:(*)->eegsens_out.valueCoarse; | 0.000000017 | EEG sensor starts failing due to age and provides worng readings
ECGSENSOR: FLA:(*)->ecgsens_out.omission; | 0.000000018 | ECG sensor fails completely or broken
ECGSENSOR: FLA:(*)->ecgsens_out.valueCoarse; | 0.000000019 | ECG Sensor starts failing due to age and provides worng readings